Copyright 2001 and 2005 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 073216 - CONCRETE ROOF TILES

This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

GENERAL

RELATED DOCUMENTS

Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 01 Specification Sections, apply to this Section.

SUMMARY

This Section includes the following:

Adjust list below to suit Project.

Concrete roof tiles.

Tile accessories

Self-adhering sheet underlayment.

Ridge Ventilation System

Drip Metal at Eave

Related Sections include the following:

List below only products and construction that the reader might expect to find in this Section but are specified elsewhere.

Division 06 Section "Rough Carpentry" for wood Decking, Blocking, and Fascia’s.

Delete both subparagraphs below if these products are specified in this Section.

Division 07 Section "Sheet Metal Flashing and Trim" for metal not part of this Section.

DEFINITIONS

Roofing Terminology:  Refer to ASTM D 1079, glossaries in RTI/WSRCA's "Concrete and Clay Roof Tile Design Criteria Installation Manual for Moderate Climate Regions," and NRCA's "The NRCA Roofing and Waterproofing Manual" for definitions of terms related to roofing work in this Section.

SUBMITTALS:

Samples for Initial Selection:  For each type of concrete tile and concrete tile accessory indicated.

Include similar Samples of trim involving color selection.

Delete paragraph and subparagraph above if colors and other characteristics are preselected and specified or scheduled.  Retain paragraph and subparagraphs below with or without above.

Samples for Verification:  For the following products, of sizes indicated, to verify color selected.

Concrete Tile:  Full size.

Concrete Tile Accessories:  Full size.

Fasteners:  Stainless Steel, or Hot Dipped Galvanized, Ring Shak

Self-Adhering Underlayment:  12 inches square.

Delete test reports below if not required.

Material Test Reports:  For each type of tile.

Insert specific model code organization in first paragraph below or revise if report must be from another source.

Research/Evaluation Reports:  For concrete tiles, fasteners, and fastener systems.

Maintenance Data:  For concrete tile roofing to include in maintenance manuals.

Retain below if required.  Submittal of sample warranties provides Architect or Owner an opportunity to further verify that warranty coverage complies with requirements.

Warranties:  Special warranties specified at the end of this Section.

QUALITY ASSURANCE

Source Limitations:  Obtain concrete tiles and concrete tile accessories through one source from a the manufacturer.

Retain paragraph and subparagraph below if fire-test-exposure classification is required for roofing.  Testing of other components in roofing assembly is also required for fire-test-exposure classification.

Fire-Test-Response Characteristics:  Provide concrete tiles and related roofing materials with the fire-test-response characteristics indicated, as determined by testing identical products per test method indicated below by UL or another testing and inspecting agency acceptable to authorities having jurisdiction.  Identify materials with appropriate markings of applicable testing and inspecting agency.

Retain one of three options in subparagraph below based on fire classification of roof assembly.  Revise to include other standards of authorities having jurisdiction if applicable.

Exterior Fire-Test Exposure:  Class A; UL 790 or ASTM E 108 for application and roof slopes indicated.

Delete paragraph and subparagraphs below if not required.  If retaining, indicate location, size, and other details of mockups on Drawings or by inserts.  To simulate roof conditions, blended tile mockups may be part of the roof.  Revise wording if only one mockup is required.

Mockups:  Build mockups to verify selections made under sample submittals and to demonstrate aesthetic effects and set quality standards for materials and execution, if requested.

Delete subparagraphs below if mockups are only for establishing appearance factors.

Approval of mockups is also for material and construction qualities specifically approved by Architect in writing.

Approval of mockups does not constitute approval of deviations from the Contract Documents contained in mockups unless such deviations are specifically approved by Architect in writing.

Retain subparagraph below if mockups are erected as part of building rather than separately and the intention is to make an exception to the default requirement in Division 01 Section "Quality Requirements" for demolishing and removing mockups when directed, unless otherwise indicated.

Approved mockups may become part of the completed Work if undisturbed at time of Substantial Completion.

Delete below if Work of this Section is not extensive or complex enough to justify a preinstallation conference.  If retaining, coordinate with Division 01.

Pre-installation Conference:  Conduct conference at Project site to comply with requirements in Division 01 Section "Project Management and Coordination."

DELIVERY, STORAGE, AND HANDLING

Store underlayment rolls on end, on pallets or other raised surfaces.  Do not double-stack rolls.

Handle, store, and place roofing materials in a manner to avoid significant or permanent damage to roof deck or structural supporting members.

Protect unused underlayment from weather, sunlight, and moisture when left overnight or when roofing work is not in progress.  Stack Rolls on Ends only.

PROJECT CONDITIONS

Weather Limitations:  Proceed with installation only when existing and forecasted weather conditions permit roofing to be performed according to manufacturer's written instructions and warranty requirements.

Install self-adhering sheet underlayment within the range of ambient and substrate temperatures recommended by manufacturer.

WARRANTY

When warranties are required, verify with Owner's counsel that special warranties stated in this Article are not less than remedies available to Owner under prevailing local laws.  Coordinate with Division 01 Section "Product Requirements."

Special Concrete Roof Tile Manufacturer's Warranty:  Manufacturer's standard form in which manufacturer agrees to repair or replace tile that fails in materials within specified warranty period.  Material failures include manufacturing defects that result in leaks.

Verify available warranty periods for concrete tiles and insert number below.

Material Warranty Period:  50 years from date of Substantial Completion.

Retain paragraph and subparagraph below if applicable.  If retaining special Project warranty, use or revise sample roofing Installer's warranty form at end of this Section.  Alternatively, insert copy of local roofing contractor association's warranty form or use another form as advised by Owner's counsel.  Revise below to reflect scope of special Project warranty.

Special Roofing Installer's Warranty:  Roofing Installer's warranty, on warranty form at end of this Section, signed by roofing Installer, covering Work of this Section, in which roofing Installer agrees to repair or replace components of concrete tile roofing that fail in materials or workmanship within the following warranty period:

Verify available roofing Installer's warranty periods and insert number below.

Warranty Period of Installer:  Five years from date of Substantial Completion.

PRODUCTS

MANUFACTURERS

See Editing Instruction No. 1 in the Evaluations in Division 07 Section "Roof Tiles" for cautions about naming manufacturers and products.

Edit this Article with other Part 2 articles in which manufacturers and products, or manufacturers only, are named.  See Division 01 Section "Product Requirements" for an explanation of the terms "Available Products," "Products," "Available Manufacturers," and "Manufacturers" and the effect these terms have on "Comparable Product" and "Product Substitution" requirements.

In other Part 2 articles where titles below introduce lists, the following requirements apply to product selection:

Available Products:  Subject to compliance with requirements, products that may be incorporated into the Work include, but may not be limited to, products specified.

Products:  Subject to compliance with requirements, provide the products specified.

Manufacturers:  Subject to compliance with requirements, provide products by of the manufacturers specified.

CONCRETE TILE

Coordinate first paragraph and list below with Part 2 "Manufacturers" Article.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

Products:

Bartile Roofs Inc; Legendary Roof Tile: Slate or Shake Design.

Concrete Tile:  ASTM C 1492, extruded-concrete roof tile units of shape and configuration indicated, with integral color, and free of surface imperfections.  Provide with fastening holes predrilled at factory when manufactured.

Retain concrete tile characteristics from options in nine subparagraphs below.  Consider deleting characteristics if they are clearly represented in product named in list of manufacturers above.

Weight:  Standard weight.

Low-Profile Shape: Flat Style Interlocking Concrete Roof Tile

Side Configuration:  Interlocking

Insert tile size(s) if required in lieu of, or to supplement, product named in list of manufacturers above.

Size:  16” x 16”

Retain subparagraph below if required for LEED-NC Credit SS 7.2.  Requirement is that for roofs with slopes steeper than 2:12.  Note that uncoated tile will probably not comply unless it is white.

Retain one of three options in subparagraph below.  If retaining first, indicate colors, textures, and patterns in a separate schedule.

Colors, Blends, and Textures: As selected by Architect from manufacturer's Standard Color Selection in either Legendary Slate or Shake Profiles.

Select finish and texture from options in subparagraph below.

Options in subparagraph below are examples only.

Select concrete tile accessories from options in two subparagraphs below.  Revise to add other special concrete tile accessories if required.

ACCESSORIES

Asphalt Roofing Cement:  ASTM D 4586, Type II, asbestos free.

Butyl Sealant:  ASTM C 1311, single-component, solvent-release butyl rubber sealant; polyisobutylene plasticized; heavy bodied.

Revise paragraph below if elastomeric sealant of another type, grade, class, and a specific use related to substrate is required.

Elastomeric Sealant: Polyurethane based joint sealant; of Grade NS, Class 25, Use NT related to exposure, and, as applicable to joint substrates indicated.

Retain paragraph below if adhering top-layer underlayment to the anchor or first layer.

Roofing Asphalt:  DO NOT USE.

Retain first paragraph below if adhering underlayments with cold-applied adhesives.

Cold-Applied Adhesive:  DO NOT USE.

Foam Adhesive:  Two-component polyurethane expanding adhesive as recommended for application by tile manufacturer.

Retain paragraph above or paragraph and subparagraph below if required for tile application in areas not subject to freeze-thaw conditions.

Mortar:  Synthetic Mortar, similar color to selected tile, for concealed-from-view mortar.

Retain first paragraph below if required and if not using a concrete tile eave closure.

Eave Closure, Tile Riser:  Manufacturer's standard eave closure/Booster formed to shape of tile.

Ridges and Hips:  Use Manufacturer's standard Ridge/Hip tile, and Hip Starter Tile.

Retain paragraph below if above-deck wood components are required.  Revise to add material requirements here if preferred.

Ventilating Battens: Synthetic Ventilating Battens by Battens Plus.

Retain below for insect screen materials used to seal roof-deck openings at sheet metal ridge vents.

Hip and Ridge Storm-block Rolls:  9” by 25’ Self Adhesive Butyl Adhesive Backed Colored Aluminum corrugated 25’ Rolls.

FASTENERS

If direct deck installation method is used, retain first paragraph below and select nail materials from first set of options and substrate from second set of options.  Brass and stainless-steel nails may also be available.

Roofing Nails:  ASTM F 1667, Hot-dipped galvanized steel, or Stainless Steel, sharp-pointed, roofing nails with barbed shanks; minimum 7/16-inch diameter head; and of sufficient length to penetrate 3/4 inch (19 mm) into solid wood decking or sheathing.

Delete subparagraph below if not applicable or revise to suit Project.

Where nails are in contact with metal flashing, use nails made from same metal as flashing, or Stainless Steel.

Self-adheared Underlayment Nails:  None normally needed, otherwise use (A) roofing nails.

Ventilating Batten Fasteners:  ASTM F 1667, Minimum ½” Crown steel wire staples, gun driven.

Retain paragraph below for miscellaneous wiring of valley or other cut tile.

Wire Ties: For supporting small Valley cut tile pieces, use Stainless Steel if required..

Retain paragraph below for twisted-wire-tie system, an alternative to direct deck installation method.  Revise twisted-wire tie to flat metal strip if required.

Twisted-Wire-Tie System:  Continuously twisted two-wire unit with loops formed 6 inches apart, minimum  diameter stainless-steel wire and 0.037-inch diameter stainless steel tie wires with matching-metal folding clip anchors if required

Coordinate subparagraph and list below with Part 2 "Manufacturers" Article.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

Tile Wire Products:

Newport Fastener Company, Inc.; Twisted Wire Tyle Tye.

Wire Works, Inc. (The); Twisted Wire Works System.

Hook nails, also called "wind locks," are used in high wind areas and on roofs steeper than 7:12.

Coordinate subparagraph and list below with Part 2 "Manufacturers" Article.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

Tile locks below may be used with direct deck twisted-wire-tie system; also called "butt hooks," "nose clips," "nose hooks," and "wind locks," they help reduce wind-induced chatter of tiles and limit stress on the primary fastener at top of the tile.

Coordinate subparagraph and list below with Part 2 "Manufacturers" Article.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

Retain paragraph and subparagraphs below if additional wind-uplift resistance is required.  Storm clips are also called "hurricane clips," "storm lock side clips," or "grip clips."

Storm Clips: Stainless steel strap-type, 0.04-by-1/2-inch (1.0-by-13-mm) L-shaped retainer clips designed to secure side edges of tiles.  Provide with two fastener holes in base flange.

Coordinate below with Part 2 "Manufacturers" Article.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

Hurricane resistive Products:

Newport Fastener Company, Inc.; Storm Lock Side Clips.

Wire Works, Inc. (The); Grip McClips.

UNDERLAYMENT MATERIALS

Retain applicable underlayment products from first three paragraphs below.  Retain one or more based on whether a single or double underlayment is required.  Underlayment described in the first paragraph, commonly referred to as "No. 30 felt," is the lightest underlayment used with tile.

Retain paragraph below for coated roof felt underlayment.  Commonly referred to as "No. 40," "No. 42," or "No. 43" felt, this medium-heavy tile underlayment is widely used.

Retain paragraph below for roll roofing used as an underlayment.  Commonly referred to as "ninety pound" or "No. 74" roll roofing, this is a heavyweight tile underlayment.

Self-adhering, polymer-modified underlayment in two paragraphs below is used to resist leaks from ice dams and to protect other roof areas vulnerable to leakage.

Coordinate subparagraph and list below with Part 2 "Manufacturers" Article.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

Retain paragraph and subparagraphs below if polyethylene-faced sheet is required.  A polyester-fabric-faced, SBS-modified asphalt sheet, reinforced internally with polyester or glass-fiber mats, is also produced that may comply with ASTM D 1970; verify availability with manufacturers selected and add revised description of products to paragraph.  These products include Protecto Wrap Company's "Rainproof II" and "Rainproof-40," Royston Laboratories' "Ice and Water Gard," and SafSeal Innovations' "SafSeal 7740-R."

Self-Adhering Sheet Underlayment, Polyethylene Faced:  ASTM D 1970, minimum of 40 mils thick, or greater; slip-resisting, polyethylene-film-reinforced top surface laminated to SBS-modified asphalt adhesive, with release-paper backing; cold applied. Provide primer for adjoining concrete or masonry surfaces to receive underlayment.

Coordinate below with Part 2 "Manufacturers" Article.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

Products:

Carlisle Coatings & Waterproofing, Div. of Carlisle Companies Inc.; WIP-300HT

Retain this Article if snow guards are needed.

Coordinate subparagraph and list below with Part 2 "Manufacturers" Article.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

2.5          Coordinate first subparagraph and list below with Part 2 "Manufacturers" Article.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

SHEET METAL FLASHING AND TRIM

Sheet Metal Flashing and Trim:  Comply with requirements in Division 07 Section "Sheet Metal Flashing and Trim."

Sheet Metal:  Stainless Steel, or by Architect..

Fabricate sheet metal flashing and trim to comply with recommendations in SMACNA's "Architectural Sheet Metal Manual" that apply to design, dimensions, metal, and other characteristics of item.

Retain detailed fabrication requirements for flashings from first four subparagraphs below.  Delete if Drawings fully detail these flashing conditions.  Dimensions of flashings are those recommended in NRCA's "The NRCA Roofing and Waterproofing Manual"; revise to suit tile manufacturer's recommendations if preferred.

Apron Flashings:  Fabricate with lower flange extending a minimum of  6 inches over and 4 inches  beyond each side of downslope tile roofing and[ 6 inches up the vertical surface.

Retain subparagraph below for interleaving metal step flashings between succeeding courses of flat tile that abut vertical surfaces such as chimneys, sidewalls, and skylights.

Step Flashings:  Fabricate with a 3-inch (75-mm) headlap extending a minimum of 4 inches 5 inches over the underlying tile roofing and 4 inches  up the vertical surface.

Retain subparagraph below for metal pan or channel flashings acting as an internal gutter under sloping high-profile tile abutting vertical surfaces such as chimneys, sidewalls, and skylights.  Revise dimensions to suit Project.

Channel Flashings:  Fabricate with vertical surface extending a minimum of 4 inches  above the tile and 6 inches beneath the tile roofing and with a 1-inch high vertical return to form a runoff channel.Retain subparagraph below for metal pan or channel flashings acting as an internal gutter at rake edge fasciae.  Revise dimensions to suit Project.

Retain subparagraph below if cricket or backer flashings are required.  Revise dimensions to suit Project.

Chimney Saddle Flashings:  Fabricate with concealed flange extending a minimum of 18” beneath upslope tile roofing, 4 inches beyond each side of chimney or skylight, and 6 inches above the roof plane.

Retain subparagraph below for metal valley flashings.  Revise dimensions to suit Project.

Closed-Valley Flashings:  Fabricate in lengths not exceeding 10 feet, with 1-inch-or more high, inverted-V Rib at center of valley and with equal flange widths of 16 inches.

Retain subparagraph below if eave or rake drip edges are required.

Drip Edges:  Fabricate in lengths not exceeding 10 feet , with 6-inch (50-mm) roof-deck flange and 1-1/2-inch (38-mm) fascia flange with 3/8-inch (9.6-mm) drip at lower edge.

Retain below if plumbing vents penetrate roof.  Revise to specify another flashing material or include requirements in Division 07 Section "Sheet Metal Flashing and Trim" or Division 22 Section "Sanitary Waste and Vent Piping."

Vent-Pipe Flashings: Stainless Steel or Lead Type L51121, at least 1/16 inch (1.6 mm) thick.  Provide sleeve sized to slip over or turn down into pipe, soldered to skirt at slope of roof and extending at least 6 inches beyond pipe onto roof (FHA Rated).

EXECUTION

EXAMINATION

Examine substrates, areas, and conditions, with Installer present, for compliance with requirements for installation tolerances and other conditions affecting performance of work.

Examine roof sheathing to verify that sheathing joints are supported by framing and blocking or metal clips and that installation is within flatness tolerances.

Verify that substrate is sound, dry, smooth, clean, sloped for drainage, and completely anchored; and that provision has been made for flashings and penetrations through roof.

Delete subparagraph below if not required.

For the record, prepare written report, endorsed by Installer, listing conditions detrimental to performance of work.

Proceed with installation only after unsatisfactory conditions have been corrected.

UNDERLAYMENT INSTALLATION

Underlayments installed parallel to eaves are installed perpendicular to sloped roof deck.  In some instances, underlayments installed parallel to the rake are installed parallel to sloped roof deck.  Roofing convention bases directions viewed from roof plan slope.

General:  Install underlayments according to tile manufacturer's written recommendations

Cover ridge and/or hip wood nailers with underlayment strips.

Retain paragraph and subparagraph below if single layer of roof felt underlayment is required.

Single-Layer Roof Self Adhearing Membrane Underlayment:  Install perpendicular to roof slope in parallel courses.  Lap sides a minimum of 3-1/2 inches or to Manufacturers marked line, over underlying course.  Lap ends a minimum of 6 inches.  Stagger end laps between succeeding courses at least 4’.  Verify that underlayment is sealed to deck.

Retain paragraph and subparagraphs below if double layer of roof felt/roll roofing underlayment is required.

Retain first option in subparagraph below if felt is covered with self-adhering sheet underlayment against walls and other roof projections.

Retain paragraph and subparagraphs below for installing single layer of self-adhering sheet underlayment.

Self-Adhering Sheet Underlayment:  Install wrinkle free, complying with low-temperature installation restrictions of underlayment manufacturer if applicable.  Install on entire roof surface, lapped in direction to shed water.  Lap sides not less than 3-1/2 inches (89 mm).  Lap ends not less than 6 inches (150 mm), staggered 24 inches (600 mm) between succeeding courses.  Roll laps with roller.  Cover underlayment with tile within thirty days.

Retain subparagraph below if primer is required to enhance adhesion to concrete or masonry surfaces such as chimneys or walls.

Prime concrete and masonry surfaces to receive self-adhering sheet underlayment.

Retain subparagraph below and delete remaining subparagraphs below if extending self-adhering sheet underlayment over entire roof deck

Install self-adhering sheet underlayment over entire roof deck.

Edit subparagraphs below to suit Project or delete if indicated on Drawings.

Retain paragraph and subparagraph below if double layer of roof felt/self-adhering sheet underlayment is required.

Retain below for felt underlayment at open valleys to be covered with metal valley flashing.

Metal-Flashed Closed Valley Underlayment:  Install 1 additional layer of 36-inch- (914-mm-) wide self-adhering underlayment centered in valley.  Stagger end laps between layers at least 72 inches (1830 mm).  Lap ends of each layer at least 12 inches (300 mm) in direction to shed water.

Lap roof-deck underlayment over previously installed layer of valley underlayment at least 6 inches.

METAL FLASHING INSTALLATION

General:  Install metal flashings and other sheet metal to comply with requirements in Division 07 Section "Sheet Metal Flashing and Trim."

Install metal flashings according to tile manufacturer's written recommendations and recommendations in NRCA's "The NRCA Roofing and Waterproofing Manual."

Retain paragraph below for apron flashings.

Apron Flashings:  Extend lower flange over and beyond each side of downslope tile roofing and up the vertical surface.

Retain paragraph below for interleaving metal step flashings between succeeding flat tile courses that abut vertical surfaces such as chimneys, sidewalls, and skylights.

Step Flashings:  Install with 3-inch headlap extending over the underlying tile and up the vertical surface.  Install with lower edge of flashing just upslope of, and concealed by, butt of overlying tile.  Fasten to roof deck only.

Retain paragraph below if cricket or backer flashings are required.

Chimney or Cricket Flashings:  Install against roof-penetrating elements, extending concealed flange beneath upslope tile roofing and beyond each side.

Retain paragraph and subparagraphs below if metal open-valley flashings are required.  Revise dimensions to suit Project.  CSSB recognizes open valleys only; NRCA recognizes both closed or mitered valleys and closed fanned or swept valleys.  All valley types require sheet metal flashings.

Closed Valley Flashings:  Install centrally in valleys, lapping ends at least 8 inches (200 mm) in direction to shed water.  Fasten upper end of each length to roof deck beneath overlap.

Retain subparagraph below if securing flange edges with cleats.

Secure hemmed flange edges with metal cleats spaced 18 inches apart and fastened to roof deck.

NRCA advises stripping-in flashing at open valleys in areas subject to snow and ice accumulation and frequent freeze-thaw cycles.  Retain subparagraph below if applicable.

Adhere 18 wide strips of self-adhering sheet to metal flanges and to self-adhering sheet underlayment.

Retain one or both paragraphs below if applicable.

Channel Flashings:  Install over underlayment and fasten to roof deck.

Retain one or both of first two paragraphs below if applicable.

Rake Drip Edges:  Install over underlayment and fasten to roof deck.

Eave Drip Edges:  Install beneath underlayment and fasten to roof deck.

Pipe Flashings:  Form flashing around pipe penetrations and tile roofing.  Fasten and seal to tile roofing.

Retain below if sheet metal ridge vents are used with concrete tile.

Ridge Ventilation System:  Install centrally and mechanically fasten to ridge.  Adhere each side to roof tile in elastomeric sealant.

Install Ridge Vent fabric mesh over roof deck air ventilation gaps to prevent insect entry.

BATTENS

Retain first paragraph below for high-profile concrete tile, selecting options as applicable.

Install 2x wood nailers at ridges and hips, and securely fasten to roof deck.

Retain paragraph below if battens are required.  Wood battens installed perpendicular to sloped roof deck are installed horizontally or parallel to eaves.  Counter battens installed parallel to sloped roof deck are installed vertically or parallel to rakes.  This Section specifies conventional roof tile installation with battens installed horizontally and counter battens installed vertically.

Install Ventilated Battens at Eave (tile riser) course, and on all roof slopes 7/12 and higher.

Retain below if counter battens are required.

CONCRETE TILE INSTALLATION

General:  Install roof tiles according to manufacturer's written instructions and recommendations in RTI/WSRCA's "Concrete Roof Tile Design requirements.

Maintain uniform exposure and coursing of tiles throughout roof.

Extend tiles 1-2 inches (50 mm) over eave fasciae.

Select one or more of three subparagraphs and associated subparagraph below.

Nail Fastening:  Hand fasten nails to clear the tile so the tile hangs from the nail and is not drawn up.

Install wire through nail holes of cut tiles that cannot be nailed directly to roof deck, such as at valleys, and fasten to nails driven into deck.

Retain subparagraph below for auxiliary side fastening of tile.

Install storm clips to capture edges of longitudinal sides of tiles and securely fasten to roof deck, if directed by Architect for high winds.

Retain first subparagraph below for locking butt edge of overlying tile to head of underlying tile.

Cut and fit tiles neatly around roof vents, pipes, ventilators, and other projections through roof.  Fill voids with synthetic mortar.

Install tiles with color blend approved by Architect.

Legendary Retain paragraph and subparagraphs below for flat shingle tile installation.

Flat Tile Installation:

Maintain minimum 3-inch head lap between succeeding tile courses.

Offset joints in succeeding courses according to manufacturer’s guidelines.

Extend tiles 1 inch minimum over fascia, at eaves.

Install ridge tiles in V-ridge configuration with laps facing away from prevailing wind.

Install Hip and Ridge tiles in a V-ridge configuration. Anchor each Ridge tile with 2 fasteners to Ridge nailer boards.

Install Legendary tile with a one-quarter tile offset on each succeeding course.  Each Legendary tile has the appearance of TWO tile in each tile individual piece.

Install L-shaped gable Rake tile on Gables..

Retain paragraph and subparagraphs below for low-profile interlocking tile installation.

Retain paragraph and subparagraphs below for high-profile tile installation, including interlocking and overlapped tiles.

Retain paragraph and subparagraph below for open valleys.

Retain below for closed valleys.

Closed Valleys:  Cut tiles at valleys to form straight lines, trimming upper concealed corners of tiles.  Maintain uniform gap of 1/4 to 3/4 inch at centerline of valley.

Drill or notch cut valley tiles and wire tie to fastener placed clear of valley metal flashing.  Do not nail tiles to metal flashing.

Retain paragraph below for snow-guard pads.  Consider roof layout recommendations of snow-guard pad manufacturers.

Retain below for snow-guard rails.  Consider roof layout recommendations of snow-guard rail manufacturers.

ADJUSTING AND CLEANING

Remove and replace damaged or broken tiles.

Remove excess tile and debris from Project site.

ROOFING INSTALLER'S WARRANTY

Delete this Article, retain this warranty, or include another roofing Installer's warranty form if required.  Coordinate with Part 1 "Warranty" Article.  Another sample layout of this warranty is included in the Evaluations in Division 07 Section "Roof Tiles."

WHEREAS <Insert name> of <Insert address>, herein called the "Roofing Installer," has performed roofing and associated work on the following project:

Owner:

Address:

Building Name/Type:

Address:

Area of Work:

Acceptance Date:

Warranty Period:

Expiration Date:

AND WHEREAS Roofing Installer has contracted (either directly with Owner or indirectly as a subcontractor) to warrant said work against leaks and faulty or defective materials and workmanship for designated Warranty Period, of

NOW THEREFORE Roofing Installer hereby warrants, subject to terms and conditions herein set forth, that during Warranty Period he will, at his own cost and expense, make or cause to be made such repairs to or replacements of said work as are necessary to correct faulty and defective work and as are necessary to maintain said work in a watertight condition.

This Warranty is made subject to the following terms and conditions:

Specifically excluded from this Warranty are damages to work and other parts of the building, and to building contents, caused by:

lightning;

Insert required wind speed below.

peak gust wind speed exceeding 100 mph;

fire;

failure of roofing system substrate, including cracking, settlement, excessive deflection, deterioration, and decomposition;

faulty construction of parapet walls, copings, chimneys, skylights, vents, equipment supports, and other edge conditions and penetrations of the work;

activity on roofing by others, including construction contractors, maintenance personnel, other persons, and animals, whether authorized or unauthorized by Owner.

When work has been damaged by any of foregoing causes, Warranty shall be null and void until such damage has been repaired by Roofing Installer and until cost and expense thereof have been paid by Owner or by another responsible party so designated.

Roofing Installer is responsible for damage to work covered by this Warranty but is not liable for consequential damages to building or building contents resulting from leaks or faults or defects of work.

During Warranty Period, if Owner allows alteration of work by anyone other than Roofing Installer, including cutting, patching, and maintenance in connection with penetrations, attachment of other work, and positioning of anything on roof, this Warranty shall become null and void on date of said alterations, but only to the extent said alterations affect work covered by this Warranty.  If Owner engages Roofing Installer to perform said alterations, Warranty shall not become null and void unless Roofing Installer, before starting said work, shall have notified Owner in writing, showing reasonable cause for claim, that said alterations would likely damage or deteriorate work, thereby reasonably justifying a limitation or termination of this Warranty.

During Warranty Period, if original use of roof is changed, this Warranty shall become null and void on date of said change, but only to the extent said change affects work covered by this Warranty.

Owner shall promptly notify Roofing Installer of observed, known, or suspected leaks, defects, or deterioration and shall afford reasonable opportunity for Roofing Installer to inspect work and to examine evidence of such leaks, defects, or deterioration.

This Warranty is recognized to be the only warranty of Roofing Installer on said work and shall not operate to restrict or cut off Owner from other remedies and resources lawfully available to Owner in cases of roofing failure.  Specifically, this Warranty shall not operate to relieve Roofing Installer of responsibility for performance of original work according to requirements of the Contract Documents, regardless of whether Contract was a contract directly with Owner or a subcontract with Owner's General Contractor.

IN WITNESS THEREOF, this instrument has been duly executed this ____ day of ____________Month, 20__ __.

Authorized Signature:

Full Name:

Title:

END OF SECTION 073216